SECTION 013521 BAY-FRIENDLY LANDSCAPING REQUIRMENTS (4-16-13 Version)

THIS IS A SAMPLE SPECIFICATION FOR INFORMATIONAL PURPOSES ONLY.  NOTHING CONTAINED HEREIN IS INTENDED TO CONSTITUTE LEGAL ADVICE.  STOPWASTE.ORG MAKES NO REPRESENTATIONS OR WARRANTIES, EITHER EXPRESS OR IMPLIED REGARDING THE SUITABILITY OR ACCURACY OF THE INFORMATION CONTAINED HEREIN.

# GENERAL

## SUMMARY

        - Section Includes: General requirements to comply with and obtain Bay-Friendly Rated Landscape status.  The landscape and site development in this project is to achieve a Bay-Friendly Rated Landscape status by, incorporating the required practices and achieving the minimum score on the Bay-Friendly Scorecard for Commercial and Civic Landscapes.  Bay-Friendly credits as identified on the attached scorecard for this project have bearing on the Contractor’s scope of work.

        - Bay-Friendly Landscaping (BFL) is a holistic approach to the design, construction and maintenance of the landscape in order to support the integrity of one of California’s most magnificent ecosystems, the San Francisco Bay watershed.  The BFL Program is based upon seven inter-relating principles, including:

          - Landscaping Locally

          - Landscape for Less to the Landfill

          - Nurture the soil

          - Conserve Water

          - Conserve Energy

          - Protect Water & Air Quality

          - Create Wildlife Habitat

        - Related Sections:

          - [include all specification sections that detail BFL practices for this project]

## REFERENCES

        - Bay-Friendly Scorecard for Commercial and Civic Landscapes for this project (attached to the end of this specification section)

        - Bay-Friendly Rating Manual for Civic and Commercial Landscapes: serves as a guide in describing the requirements and verification procedures for each practice in the scorecard.

        - Bay-Friendly Maintenance Specifications: serves as a reference document to provide language as needed to improve the environmental standards of ongoing landscape maintenance contracts.

        - Bay-Friendly Landscape Guidelines: fully describes the seven Bay-Friendly principles, offering 55 practices in sustainable landscape design, construction, and maintenance.

        - Additional Bay-Friendly resources found at www.BayFriendly.org

## DOCUMENTATION

        - BFL documentation is required to verify compliance with the BFL scorecard and must be submitted in addition to project submittals.  If a submitted item is identical to that submitted to comply with other project requirements submit duplicate copies in a separate BFL submittal.  (On the submittal list below, the numbers such as "C.7.a.i" references the numbering of practices on the BFL Scorecard for Civic and Commercial Landscapes.)  Submit the following: [ delete submittals that are not applicable and add additional contractor submittal requirements per the scorecard and Rating Manual, such as signed Accountability Forms. Confirm accountability forms needed with BFL Rater ]

          - A.3.a. Submit photos of trees identified for removal being chipped for use as mulch onsite.

          - A.5.a. Submit accountability form signed by Contractor confirming site boundaries were walked and identified prior to construction.

          - C.1.a. Submit soils analysis report and accompanying recommendations from the accredited soil laboratory.

          - C.3.a. Submit accountability form signed by Contractor confirming fencing has been installed per the requirements of this credit.

          - C.4.a.i Submit accountability form signed by Contractor confirming soil has been ripped to a depth of 8”.

          - C.4.a.ii Submit accountability form signed by Contractor confirming soil has been ripped to a depth of 12”.

          - C.5.a. Submit accountability form signed by Contractor confirming fertilizers prohibited by OMRI are not utilized on the projectC.6.a. Submit tags or receipts for mulch and sheetmulching materials indicating the amount purchased/delivered and/or submit photos of removed trees being chipped for use as mulch on site.

          - C.7.a i and ii- Submit Soil analysis and/or tags or receipts for compost indicating the amount of compost delivered/ purchased.

          - C.7.a.iii- Submit tags or receipts showing compost is purchased from a processor that participates in US Composting Council's Standard Testing Assurance Program.

          - C.8.a- Submit tags or receipts for sheet mulch cardboard.

          - C.8.b Submit accountability form signed by Contractor confirming synthetic preemergents have been prohibited.

          - C.9.a Submit tags or receipts of purchased compost, and/or compost socks indicating amounts.

          - D.1.b- Submit accountability form confirming 25% recycled aggregate was utilized.

          - D.1.c- Submit tags or receipts showing flyash or slag percentage in concrete mix.

          - D.1.d Submit tags or receipts showing quantity, supplier and feedstock of compost and/or mulch.

          - D.2.a,b,c- Submit Pre Construction Debris Recovery Plan in the planning stages of construction and submit Post Construction Debris Recovery Plan and documentation of results (i.e. hauler facility gate tags, builders waste tabulation supplied by local waste authority) and diversion rate from the C&D facility.

          - D.5.a- Submit accountability form signed by contractor indicating solar powered pumps have been installed for water features.

          - D.2.c. Submit  accountability form signed by contractor indicating unused materials have been donated.

          - D.6.a.Submit accountability form signed by contractor confirming stone and non-concrete hardscape materials are produced within 500 miles of the site.

          - D.7.a. Submit accountability form signed by contractor indicating IPM was used during construction.

          - D.8.a. Submit accountability form signed by contractor indicating OPM was used during construction.

          - E.4.a. Submit accountability form signed by contractor indicating no turf has been installed in areas less than 8’ wide unless irrigated with subsurface or low volume irrigation.

          - E.5.a. Submit accountability form signed by contractor confirming plants have been installed according to hydrozones.

          - F.2.a Submit accountability form signed by contractor verifying weather based controller is installed per criteria of this creditF.2.b. Submit accountability form signed by contractor confirming no spray heads are specified in areas less than 8’ wide.

          - F.2.c.i and ii. Submit accountability form signed by contractor confirming drip or bubblers are installed per criteria of this credit.

          - F.2.d.Submit accountability form signed by contractor confirming precipitation rates and OD meet criteria of this credit.

## SUBSTITUTIONS

        - Notify Owner and Landscape Architect when Contractor wishes to substitute materials, equipment or products that may affect BFL certification.

        - Contractor shall provide sufficient technical data and supporting information to verify that the proposed substitution is in compliance with the applicable Bay-Friendly credit(s) and practice(s), as described in the BFL Rating Manual for Civic and Commercial Landscapes

        - Refer to the general provisions of the contract regarding substitution requirements and procedures.

# PRODUCTS

## Refer to the plans and specs.

# EXECUTION- not used

END OF SECTION 013591

[Attach BFL Scorecard for Commercial and Civic Landscapes for this project]