SECTION 329300-PLANTS

THIS IS A SAMPLE SPECIFICATION FOR INFORMATIONAL PURPOSES ONLY.  NOTHING CONTAINED HEREIN IS INTENDED TO CONSTITUTE LEGAL ADVICE.  STOPWASTE.ORG MAKES NO REPRESENTATIONS OR WARRANTIES, EITHER EXPRESS OR IMPLIED REGARDING THE SUITABILITY OR ACCURACY OF THE INFORMATION CONTAINED HEREIN.

NOTE: THIS DOCUMENT HAS BEEN DEVELOPED TO PROVIDE SAMPLE BAY-FRIENDLY LANGUAGE TO INCLUDE IN THE PLANTING SPECIFICATIONS FOR A PROJECT.  THIS SAMPLE SPECIFICATION CAN BE USED AS A TEMPLATE FOR THE PROJECT’S PLANTING SPECIFICATION SECTION OR THE TEXT CAN BE INSERTED AS APPROPRIATE INTO AN EXISTING PLANTING SPECIFICATION SECTION.

# GENERAL

## RELATED DOCUMENTS

    - [Insert appropriate text regarding related documents including plans, standard and special provisions and the contract]

    - Reference Documents:

      - Bay-Friendly Scorecard for New Commercial and Civic Landscapes for this project

      - Bay-Friendly Rating Manual for New Civic and Commercial Landscapes: serves as a guide in describing the requirements and verification procedures for each practice in the scorecard.

      - Model Bay-Friendly Landscape Maintenance Specifications: serves as a reference document to provide language as needed to improve the environmental standards of ongoing landscape maintenance contracts.

      - Bay-Friendly Landscape Guidelines: fully describes the seven Bay-Friendly principles, offering 55 practices in sustainable landscape design, construction, and maintenance.

      - Additional Bay-Friendly resources found at www.BayFriendly.org

## SUMMARY

    - This project has been designed as a Bay-Friendly Rated Landscape. Bay-Friendly Landscaping is a whole systems approach to the design, construction and maintenance of landscapes that contributes to the health to the San Francisco Bay Watershed.  A Bay-Friendly Rated Landscape is one where the Project Team, including the developer, Landscape Architect, general Contractor and Landscape Contractor are working together to achieve clearly understood Bay-Friendly goals.  A Bay-Friendly Rated  Landscape will earn a minimum of 60 points and meet all of the 9 required practices that are on the Bay-Friendly Landscape Scorecard and is  verified by a third party, a “Bay-Friendly Rater”.  The specifications and plans for this project implement the required practices and earn points on the Bay-Friendly Landscape Scorecard. The Bay-Friendly Landscape Scorecard and Guidelines are based on 7 guiding Principles:

      - Landscape Locally

      - Landscape for Less to the Landfill

      - Nurture the Soil

      - Conserve Water

      - Conserve Energy

      - Protect Water & Air Quality

      - Create Wildlife Habitat

    - The Contractor shall comply with all requirements as shown on the plans and specified herein:

    - Section Includes:

      - Plant Material

      - Soils Test

      - Soil Amendments

      - Imported Planting Soil

      - Mulches

      - Weed Barrier (Sheet Mulch)

      - Integrated Pest Management

      - Tree Staking

      - Landscape Edging

      - Root Barrier

    - Related Sections:

      - [Insert all related specification sections]

## ALLOWANCES

    - [ Insert text]

## UNIT PRICES

    - [ Insert text]

## DEFINITIONS

    - Bay-Friendly Landscape Rater –  is a person designated as a third party reviewer for completion of Bay-Friendly practices for this project and that has current status as a Qualified Bay-Friendly Rater either through the Bay-Friendly Landscape & Gardening Coalition or through StopWaste.Org.

    - Compost – is the product of controlled biological decomposition of organic materials, often including urban plant debris and food waste. It is an organic matter resource that has the unique ability to improve the chemical, physical and biological characteristics of soils or growing media.  It contains plant nutrients but is typically not characterized as a fertilizer. (Excerpted from US Compost Council , Field Guide to Compost Use)

    - Integrated Pest Management – is a holistic approach to mitigating insects, plant diseases, weeds, and other pests. It involves the use of many strategies for managing, but not eliminating pests. Integrated Pest Management (IPM) uses cultural, mechanical, physical, and biological control methods before using pesticides to control pests and diseases in the landscape.  Chemical controls are applied only when monitoring indicates that preventative and non-chemical methods are not keeping pests below acceptable levels.  When pesticides are required, the least toxic and the least persistent pesticide that will provide adequate pest control is applied.

    - The Organic Materials Research Institute (OMRI) – is a national nonprofit organization founded in 1997 to support the organic community. OMRI reviews products to determine their suitability for producing, processing and handling organic food and fiber under the USDA National Organic Program Rule (OMRI General Materials List)

    - Pesticide – As defined in Section 12753 of the California food and Agricultural Code, a pesticide includes any of the following: “(a) Any spray adjuvant.  (b) Any substance, or mixture of substances which is intended to be used for defoliating plants, regulating plant growth, or for preventing, destroying, repelling, or mitigating any pest, which may infest or be detrimental to vegetation, man, animals, or households, or be present in any agricultural or nonagricultural environment whatsoever”.  Antimicrobial agents are excluded from the definition of pesticide.

    - Sheet mulching – uses a layer of paper or cardboard underneath the mulch to enhance weed suppression and soil building benefits. This layered mulch system is often used during landscape construction to optimize mulch benefits and encourage plant establishment.

    - [Insert other definitions as necessary]

## SUBMITTALS

    - Note: Many of these submittals are required to verify compliance with the Bay-Friendly Landscape Scorecard, including product data, delivery tags and Accountability Forms.  Contractor shall refer to Section 013512 Bay-Friendly Landscaping Requirements in these specifications for additional information and direction.

    - As many of the specified items are required to comply with the Bay-Friendly Landscape Scorecard, no substitutions will be allowed without prior written approval of the Owner’s Representative.

    - Product Data:  For each of the following:

      - Pesticides and Herbicides: [Insert required submittal]

      - Fertilizers [Insert required submittal]

      - Tree Staking and Tying: [Insert required submittal]

      - Mulch verifying recycled content and source of material.

    - Samples for Verification:  For each of the following:

      - Amendments: 1 pint minimum volume of each amendment in sealed plastic bag or container.  Submittal shall be labeled with weight and source of each item.  Each submittal shall represent a true sample of material to be provided at the project site.

      - Imported Planting Soils: 1 pint minimum volume of each mulch in sealed plastic bag or container.  Submittal shall be labeled with weight and source of each item.  Each submittal shall represent a true sample of material to be provided at the project site.

      - Mulch:  1 pint minimum volume of each mulch in sealed plastic bag or container.  Submittal shall be labeled with weight and source of each item.  Each submittal shall represent a true sample of material to be provided at the project site.

      - Tree Staking materials: [ Insert required submittal]

      - Landscape Edging and Accessories:  Manufacturer's standard size, to verify color and material selected.

      - Sheet Mulch Materials: Sample of 100% Recycled B Flute Cardboard

      - Root Barrier:  Width of panel by 12 inches (300 mm).

    - Lab Analysis Reports: For each of the following:

      - Soil analysis report and recommendations

      - Compost technical data sheet including compost laboratory report.

      - Imported planting topsoil report and recommendations.

    - Other Product Certificates or Material Test Reports:  [ Insert text]

## QUALITY ASSURANCE

    - Preferred Qualifications:

      - It is preferred that the Contractor have assigned to the project at least one employee who is a Bay-Friendly Qualified Landscape Professional.

      - It is preferred that the contractor have assigned to the project at least one employee who has successfully completed the Pollution Prevention Training & Certification Program For Surface Cleaners issued by the Bay Area StormWater Management Agencies Association (BASMAA).

      - It is preferred that the Contractor have assigned to the project at least one employee who is a Certified Irrigation Contractor (Irrigation Association).

      - It is preferred that the Contractor have assigned to the project at least one employee who is a Certified Arborist or Certified Tree Worker (International Society of Arboriculture)

      - It is preferred that the Contractor have assigned to the project at least one employee who has experience or training in Integrated Pest Management (IPM) techniques.

    - Required Qualifications

      - Contractor must have a valid California C-27 Contractor’s license authorized by the State of California.

      - Contractor shall provide evidence of sufficient experience with similar projects. Provide list including a minimum of five recently installed projects with location, date completed, owner, contact person and phone number.

      - Contractor must have assigned to the project at least one employee possessing a California State Chemical Applicator’s License for the control of weeds, plant diseases and other pests.

    - Plant Material:

      - provide plants as specified in the documents including size, genus, species and variety. Any request for substitution must be reviewed and approved by owner for conformance to the Bay-Friendly Landscape Scorecard requirements and points.

      - Reference standards for plant materials include: BFL Landscape Guidelines, American Society of Nurserymen, Manufacturers recommendations, Sunset Western Garden Book, Plants and Landscapes for Summer-Dry Climates of the San Francisco Bay Region by EBMU, California Native Plants for the Garden by Bornstein, Fross & O’Brien.

    - Testing Agencies: soil testing must be done by an accredited soils laboratory approved by the Owner’s Representative.  Laboratories that participate in the North American Proficiency Testing Program (NAPT) are recommended.  See www.usual.usu.edu/napt/ for participating laboratories

## SUPPLIES AND EQUIPMENT

    - Fuel conservation and low emission equipment. The Contractor will implement strategies in work operations to reduce fossil fuel consumption and emissions, such as:

      - Use hand-powered equipment when feasible.

      - Minimize use of gas-powered blowers, especially on planting beds.

      - Select smallest, most fuel efficient equipment to accomplish task.

      - Consider vehicles that operate on natural gas or biodiesel.

      - Maintain all equipment properly and keep them well tuned.

      - Emphasize employee carpooling to Project Site.

    - Use local products and suppliers.  Bay-Friendly Rated Landscapes encourage the use of local materials. Points are awarded if 100% of any stone and non-hardscape material is produced within 500 miles of the project site.  The Contractor shall source materials as specified and is encouraged to suggest substitutions in favor of local materials where appropriate to be approved by Owner’s Representative.  The Contractor shall use local products and suppliers for all other landscape items to the extent possible to minimize fuel consumption and emissions.

    - Use recycled and salvaged materials.  Bay-Friendly Rated Landscapes encourage the use of recycled content and salvaged materials. The Contractor shall use salvaged and recycled-content products as specified and is encouraged to suggest substitutions in favor of recycled content or salvaged materials where appropriate to be approved by Owner’s Representative.  Materials for reuse may be found by contacting the CalMax website at  www.ciwmb.ca.gov  or at www.stopwaste.org . For recycled content materials visit the Green Product Directory at: http://accessgreen.builditgreen.org/

    - Equipment refueling and repair.  The Contractor shall refuel and repair equipment in a safe manner to protect against accidental spills.  Limit refueling to specific areas on a site.  Measures shall be taken to prevent, control, and clean-up spills.  Clean-ups should be immediate, automatic and routine and performed by a trained staff member or a licensed cleaning company.

## DELIVERY, STORAGE, AND HANDLING

    - [ Insert text]

## PROJECT CONDITIONS

    - [ Insert text]

## WARRANTY

    - [ Insert text]

## MAINTENANCE SERVICE

    - [ Insert text]

# PRODUCTS

## PLANT MATERIAL

    - The plants listed on the plans have been selected to comply with recommendations and requirements of the Bay-Friendly Landscaping scorecard.  Plants have been selected for low water use, diversity of species, appropriate spacing to reach mature size without shearing, and percent native species. Plants have also been carefully grouped into hydrozones.  No substitutions will be allowed without prior written approval of the Landscape Architect.

    - [Insert text]

## SOIL ANALYSIS  REPORT AND RECOMMENDATIONS

    - Contractor shall arrange and pay for soil testing by an accredited soils laboratory approved by the Owner’s Representative.  Laboratories that participate in the North American Proficiency Testing Program (NAPT) are recommended.  See www.usual.usu.edu/napt/ for participating laboratories

    - Soil submitted for testing should be a composite of samples taken from several locations in a site.  If the topsoil is removed and stored for later use or if imported soil is used, delete this paragraph. Stored topsoil or imported planting soil shall be tested per 2.2 A &C.

      - Take samples from 10-12 spots in each area.  Imagine a line dividing the area in half lengthwise, and then divide each half into five near equal sized widths. Take samples near the middle of each subsection.

      - At each sampling spot dig a spades width hole a least 8 inches deep, then shave a 1 inch slice from the side of the hole to use in the composite sample.

      - Thoroughly mix the 10-12 samples from each turf or planting area together in a clean plastic bucket or bowl.  Place 2 cups of the mix in a sealable plastic bag for testing (some tests may require more soil, confirm with laboratories.)

      - Label the bag with site information area of sample plus name of person who took the sample and contact information.

    - At a minimum the soil analysis shall include:

      - soil texture

      - infiltration rate determined by laboratory test or soil texture infiltration rate table;

      - pH

      - total soluble salts

      - sodium

      - essential nutrients

      - percent organic matter

      - Recommendations- request that the laboratory make recommendations for amending the soil with compost to bring the soil organic matter to a minimum of 5% by dry weight and incorporating natural, non-synthetic fertilizers to recommended levels for planting area.

    - The amendments, and fertilizer rates and quantities listed in 3.2 are to be used for bid basis only. The base bid shall include cost of testing site soil and organic amendments noted in this specification section.  Adjust the quantities of soil amendments and fertilizer per soil lab written report recommendation.  Adjustments to project costs resulting from the soil report recommendations shall be submitted as a modification to the base bid.  Submit soil lab report and any proposed soil amendments and cost adjustments to Owner’s Representative for written approval.  After review and written approval by the Owner’s Representative, amend the soils according to said laboratory's recommendations.  The approved soils laboratory recommendations shall be considered a part of this specification.

## SOIL AMENDMENTS

    - Compost shall be a well decomposed, stable and weed free.  It shall be derived from one or more locally  sourced  orgnanic materials such as : food waste or urban plant debris, agricultural crop residue or herbivore animal manures with a preference for urban plant debris and food wasste.  It shall not contain mixed solid waste.  The product shall contain no substances toxic to plants, will possess no objectionable odors and shall not resemble the feedstock (the original material from which it was derived).  Compost shall be tested through the US Composting Councils USCC Seal of Testing Assurance Program (STA).  A lab analysis shall be performed by a STA certified laboratory using the test methods used in the Seal of Testing Assurance program found in the Test Methods for Examination of Compost and Composting Manual (TMECC).  Verifying current participation in the STA program can be confirmed by logging onto the USCC website at www.compostingcouncil.com.  The compost lab analysis shall be submitted as part of the “Compost Technical Data Sheet” before delivery of compost.

    - The compost laboratory report must confirm the following compost parameters:

| Parameters | Units of measure | General Range |
| --- | --- | --- |
| Nitrogen (Total N) | % dry weight | >0.9 |
| Ammonium (N or NH4-N) | ppm or mg/kg dry weight | <450 |
| Nitrate (NO3-N) | ppm or mg/kg dry weight | >10 |
| Phosphorus (P) | % dry weight | <0.6 |
| Calcium (Ca) | % dry weight | <3.5 |
| Boron (Total B) | ppm or mg/kg dry weight | <80 |
| Sodium (Na) | % dry weight | <0.5 |
| Total Nitrogen Phosphorus and Potassium (NPK) | Sum % dry weight | >2.0 |
| Carbon Nitrogen Ratio | Carbon: Nitrogen | ≤25:1 |
| Organic Matter Content | % by dry weight basis | >35 |
| pH | pH units | 6.5-8.5 |
| Moisture Content | % wet weight basis | >35 |
| Particle Size or Sieve Size | % under ½” or 25mm by dry weight | >95% |
| Stability Indicator: Carbon Dioxide (C02) Evolution Rate | Mg CO2-C/g OM per day | <8 |
| Maturity Indicator: Cucumber Bioassay |  |  |
| Seed Emergence | %, relative to control | >80% |
| Seed Vigor | %, relative to control | >80% |
| Select Pathogens |  |  |
| Fecal Coliform Bacteria | MPN/gram dry weight | - <1000 |
| Salmonella | MPN/4gram dry weight | - <3 |
| Metals |  |  |
| Arsenic | mg/kg (ppm) | <16 |
| Cadmium | mg/kg (ppm) | <8 |
| Chromium | mg/kg (ppm) | < 100 |
| Copper | mg/kg (ppm) | <400 |
| Lead | mg/kg (ppm) | <100 |
| Mercury | mg/kg (ppm) | <4 |
| Nickel | mg/kg (ppm) | <80 |
| Selenium | mg/kg (ppm) | <5 |
| Zinc | mg/kg (ppm) | <500 |
| Physical Contaminants |  |  |
| Glass | % dry weight | <1 |
| Plastic | % dry weight | <1 |
| Metal | % dry weight | <1 |
| Bulk Density | lbs/CY dry weight lbs/CF dry weight | >19 and <41 >500 and <1100 |

- (Table modified from the US Composting Council Landscape Architectural Specifications 6/1/05 and Alameda County Waste Management Authority Compost Quality Standards and Testing Protocol April 6, 2006)

    - In addition it is recommended that the compost laboratory report confirms to the following compost parameters:

| Parameters | Units of measure | General Range |
| --- | --- | --- |
| Boron (Soluble B) | ppm or mg/kg dry weight | <2.5 |
| Soluble Sodium | % of ECE | <40 |
| Soluble Chloride | % of ECE | < 50 |
| Organics: |  |  |
| Clyopyralid |  | Pass plant test |
| Organochlorine Pesticides |  | Non Detect |
| Organophyosphate Pesticides |  | Non Detect |
| Chlorinated Herbicides |  | Non Detect |
| Chlorinated Hydrocarbons |  | Non Detect |

- (Table modified from the US Composting Council Landscape Architectural Specifications 6/1/05 and Alameda County Waste Management Authority Compost Quality Standards and Testing Protocol April 6, 2006)

      - uble shall be <2.5or pposite of what we want.  The BMP is till soil prior to amending with compost.... tent.   no organic matte

## FERTILIZERS

    - Non-synthetic fertilizers as recommended by the soils report.  Synthetic, quick-release fertilizers shall not be permitted.  Fertilizers prohibited in the Generic Materials List by the Organic materials Review Institute (OMRI) are prohibited in the project.

## IMPORTED PLANTING TOPSOIL

    - Contractor shall provide imported planting soil where specified in the plans and details.  Use topsoil mix that a minimum of 5% and up to 10% organic matter (with 20% or more compost content).  Soil portion must be sandy loam as defined by USDA. Submit soil analysis report per section 2.2 A & C.

      - All material shall be free of trash and debris, or any other deleterious materials, and shall be subject to the approval and acceptance of the Owner’s Representative.

      - The Contractor shall designate their proposed import sources in advance and shall provide source samples and soils test of material to the Owner’s Representative.

      - Material shall be free of seeds.

## STOCKPILED EXISTING TOPSOIL

    - Contractor shall utilize soil from on-site topsoil stockpile see specification section [include applicable specification section]

## MULCHES

    - Mulch: Mulch shall be recycled from local, organic materials such as, tree trimmings, plant or clean wood waste.  OR provided by on-site chipping OR other recycled mulch materials including peach pits, grape seeds, tumbled pottery chips Sources of recycled mulches can be found at www.BayFriendly.org

## WEED BARRIER (SHEET MULCH) CARDBOARD

    - Cardboard for sheet mulch shall be 100% recycled B flute cardboard or approved equal.  Rolls of recycled cardboard are available through North Bay Paper in Petaluma, 800-734-2772 or Monahan Paper in Oakland, 510-835-4670 or approved equal.

## INTEGRATED/ORGANIC PEST MANAGEMENT

    - Integrated Pest Management (IPM) practices shall be used to control pests and diseases in the landscape.

    - Synthetic pre emergents are prohibited.

    - Pesticides that are not allowed by OMRI in its generic materials list are prohibited.

## TREE STAKING  MATERIALS

    - Staking Materials:

      - Stakes: Lodgepole pine (untreated), 2-inch diameter by 10 feet long minimum actual dimensions, of uniform size and pointed at one end.

      - Ties: Spring-loaded “Wonder Tree Ties” by Alden Enterprises (818) 579-7115, recycled bicycle innertube or approved equal.

## LANDSCAPE EDGINGS

        - Landscape edgings or headers, shall be [select as appropriate] FSC certified wood [OR] plastic lumber made from only high or low density polyethylene and containing a minimum of  50% post-consumer recycled content.

    - Type:  [Insert text]

    - Size Range:  [Insert text]

    - Color:  [Insert text]

## ROOT BARRIER

        - Root Barrier:  Black, molded, modular panels manufactured with 50 percent recycled polyethylene plastic with ultraviolet inhibitors, 85 mils (2.2 mm) thick, with vertical root deflecting ribs protruding 3/4 inch (19 mm) out from panel, and each panel 24 inches (610 mm) wide. UB 24 by DeepRoot or equal.

# EXECUTION

## EXAMINATION

    - [ Insert text]

## SOIL PREPARATION AND FINISH GRADING

    - Soil Preparation: [choose applicable option]

      - Option #1 Amend Existing Site Soil:

        - Test soil per section 2.2

        - Scarify or till subsoil or topsoil subgrade to a depth needed to achieve 12” of loosened soil after amendment is placed.  Entire surface should be disturbed by scarification.  Do not scarify or till within drip line of existing trees to be retained.  Do not scarify or till when soil is wet.

        - Amend to meet required organic matter content: Apply non-synthetic fertilizers and other amendments, including appropriate quantities of compost to bring soil organic matter content to 5%, as specified in the soils analysis report, to the surface of the aerated soil/subgrade.  For bid purposes assume 2” quality compost applied to all areas to receive planting.  Mix to the depth required to achieve 8 inches of settled soil/amendment mix.

      - Option #2 Stockpile Existing Topsoil:

        - Remove and store horticulturally suitable topsoil: Identify areas to be paved as a place to store topsoil.  Remove at least the top 6 inches of horticulturally suitable topsoil before grading.  Do not remove and store subsoil.  Store in piles less than or equal to 6 feet high.  Protect stored topsoil from erosion.  [Note: move this paragraph to appropriate specification section per project, such as Earthwork and Demolition Sections, to ensure task is completed at the appropriate sequence in project.]

        - Test soil per section 2.2 A & C.

        - Scarify or till subgrade to depth needed to achieve 12” of loosened soil after stockpiled topsoil and amendment are placed.  Entire surface should be disturbed by scarifications.  Do not scarify within drip line of existing trees to be retained.  Do not scarify when soil is wet.

        - Place stockpiled topsoil

        - Amend as specified in the soil analysis report to meet required organic matter content.  Apply non-synthetic fertilizers and other amendments, including appropriate quantities of compost to bring soil organic matter content to 5%, as specified in the soils analysis report, to the surface of the aerated soil/subgrade.  For bid purposes assume 2” quality compost applied to all areas to receive planting.  Mix to the depth required to achieve 8 inches of settled soil/amendment mix.

      - Option #3 Imported planting topsoil

        - Scarify or till subgrade to 6” to achieve 12” of loosened soil after topsoil and amendment are placed.  Entire surface should be disturbed by scarifications.  Do not scarify within drip line of existing trees to be retained.  Do not scarify when soil is wet.

        - Place 6” of imported planting topsoil specified in section 2.4 l in 3” lifts.  Mix each lift into 2” of soil below it.

    - Finish Grading:

      - Rake beds to smooth and remove surface rocks larger than 2 inches diameter.

      - Grade soil surface at edges of planting areas within 2’ of adjacent to hardscape and drain inlets to an elevation of 3-4” below the finished surface of adjacent hardscape to allow adequate room for mulch.

## WEED BARRIER (SHEET MULCH)

    - After the soil preparation has occurred and 5 gallon and larger plant materials have been planted the “sheet mulch” shall be installed.

    - Apply a minimum of two layers of 100% recycled B flute cardboard as a biodegradable weed barrier to the entire planting area, completely covering all existing soil and remaining herbaceous vegetation, if any .

      - Wet cardboard while applying to prevent it from blowing away.

      - Sheets of cardboard shall overlap a minimum of 8”.

      - Cardboard shall abut directly against edge of pavement, curbs, boulders or other site features.  Cardboard shall not cover tree and shrub root crowns.

      - Excess cardboard shall be folded under itself when abutting against hardscape objects or root crowns areas, as opposed to being cut, avoid excessive cardboard scraps.  This folding under process is greatly aided when the cardboard is wet.

      - All cardboard scraps shall remain separated from other construction debris and shall be disposed at the local recycling facility.

    - Apply compost and mulch

      - Apply 1” of compost as specified by the soils report on top of the cardboard layer in all planting areas.  Reduce compost application to ½” when 6” or less from the edge of curb.

      - Apply 2” of mulch on top of the compost to obtain a 3 inch minimum depth of combined compost and mulch above the cardboard.  Mulch will protect compost during the planting of 1 gallon and 4” pots and the laying out of drip lines

      - Keep root crowns of all plants clear of compost, mulch and debris.

## TREE, SHRUB, AND VINE PLANTING

    - The plants listed shown on the plans have been selected and spaced to comply with recommendations and requirements of the Bay-Friendly Landscaping scorecard.  A requirement of the Bay-Friendly Landscape Scorecard is that plants shall be able to reach mature size without shearing.  Adjustments to plant placement and spacing shall be reviewed and approved in the field by the Landscape Architect.

    - Incorporate compost with excavated soil from the plant pit at a ratio of 1 part compost to 2 parts soil, or as recommended by the soils report.

    - Include other amendments as recommended by the soils report per section 2.2 and 2.3.

## GROUND COVER PLANTING

    - [ Insert text]

## TREE STAKING

    - [ Insert text]

## ROOT-BARRIER INSTALLATION

    - Root barriers shall be installed where trees are planted within 48” of paving or other hardscape elements such as walls, curbs, and walkways unless otherwise shown on drawings.  Root barriers shall be installed in a linear fashion along hardscape edge and shall not wrap around tree root ball.  Install per manufacturers instructions.

## LANDSCAPE EDGING INSTALLATION

    - [ Insert text]

## MAINTENANCE PERIOD

    - Pruning

      - Selective pruning.  Plants shall be pruned selectively to remove individual stems or branches that extend beyond the natural conformation of the plant to a lateral branch or at the point of attachment.  Woody groundcovers shall be selectively pruned to control growth towards pavements rather than edged.

      - Hedging and shearing. Contractor shall not sheer plants into formal shapes as this destroys the natural form of the plant and generates excessive waste.

      - Tree pruning shall be performed only by trained, experienced personnel.  An I.S.A. Certified Arborist or Tree Worker is to be present at all times during pruning.

    - Utilize Integrated Pest Management- see section 3.11

    - Soil subsidence- Fill in any soil subsidence that may occur, replant trees and or shrubs that may have settled.

    - Replace mulch materials and restore plant saucers.

    - Adjust and repairing tree staking materials.

    - Perform other operations as required to establish healthy viable plantings.

    - Water Management. All plants shall be irrigated to provide adequate water to maintain an attractive, green, healthy and moderate growth rate during its growing season.  The Contractor shall comply with the water budget approach to irrigation scheduling to match plant need with water application and avoid over-irrigation.

    - Mulching. Contractor shall maintain a minimum of 3” of mulch at all times over soil surface that is not covered by vegetation.  Keep mulch 6: away of tree trunks and 4: away from shrub stems.  Restore plant basins.

## INTEGRATED PEST MANAGEMENT

    - Contractor shall utilize integrated pest management (IPM) practices during installation and maintenance to control pests and disease in the landscape. IPM uses cultural, mechanical, physical, and biological control methods before using pesticides.  Chemical controls are applied only when monitoring indicates that preventative and non-chemical methods are not keeping pests below acceptable levels.  When pesticides are required, the least toxic and the least persistent pesticide that will provide adequate pest control is applied. Refer to BFL Guidelines and Maintenance Specification for more information.

    - Controls

      - Cultural/Mechanical/physical methods will be used as the first choice in weed management.

        - Monitor planting areas frequently to identify and eradicate weeds early in the growth stage prior to their setting seed.

        - Cut or pull weeds using hand operated equipment where possible.

        - Mulches shall be maintained at all times over soil surface that is not covered by vegetation.  (see also Section 3.3 E, Incorporate Organic Soil Amedments)

        - Propane-fueled flamers may be used in winter and spring with required permits and approval by the Fire Marshall to kill early-season, non-grass weeds by heating the cells until they burst.  The weed quickly wilts and dies.

    - If allowed on this project, Contractor shall apply all chemicals in a safe manner and according to label instructions and Agency, State and Federal requirements.  A California Chemical Applicators license is required by the Contractor for chemical applications.  The Contractor shall mix and apply chemicals to protect against accidental spills and drift to non-target areas, and to insure safety of the applicator.  Any spilled chemicals, as well as contaminated soil, water, and/or landscape materials must be removed from the Project and disposed of in accordance with the Agency requirements.  The Contractor shall maintain applicator’s licenses and records of applications as required by the State.

    - A Chemical Work Report shall be completed for each chemical application.  The Contractor is responsible for submitting chemical usage reports to the County Agricultural Department.

      - Contractor shall maintain records of all pest management activities.  Each record shall include the following information:

        - target pest;

        - type and quantity of pesticide used;

        - site of the pesticide application;

        - date the pesticide was used;

        - name of the pesticide applicator;

        - application equipment used;

        - prevention and other non-chemical methods of control used.

      - Contractor shall submit the pest management record to Owner on monthly basis.

    - Herbicides

      - Least toxic herbicides may be employed by Contractor as a last resort.  (Trade names are used only as examples and are not intended as an endorsement) Examples are:

        - Fatty acid potassium salts (herbicidal soaps e.g. Safer's Superfast Weed and Grass Killer® Dr. Bronner’s Peppermint Anti-Bacterial Soap)

        - Acetic and citric acids (e.g. Nature’s Glory Weed and Grass Killer RTU®)

        - Clove, citrus, mint and thyme oil (e.g. Matran II®, Xpress®)

        - Corn gluten

        - Low-toxic, low-residual herbicide [e.g. glyphosate (Round-up®), glufosinate-ammonium (Finale®), pelargoic acid (Scythe®)

      - Restricted herbicides that may not be used because they have been identified as ground water contaminants are (trade names in parentheses):

        - Atrazine (Aatrex)

        - Simazine (Princep)

        - Bromacil (Hyvar, Krovar)

        - Prometon (Pramitol)

        - Bentazon (Basagran)

        - Norflurazon (Solicam, Predict, Zorial)

      - Restricted herbicides that may not be used because they have been identified as a compost contaminant are:

        - Picloram

        - Clopyralid

## CLEANUP AND PROTECTION

    - Contractor shall exercise caution to avoid washing or sweeping dirt and debris into the storm drain system.

    - [ Insert text]

## DISPOSAL

    - Recycle all waste per Construction and Demolition waste requirements elsewhere in these specifications.  Reuse or return unused items such as palettes, flats and pots.  All plant debris shall be separated from other refuse and taken to a facility where it will be recycled i.e., to produce compost or mulch.

END OF SECTION 329300